Understanding the fire code requirements for a particular product can often be challenging and confusing. Every state adopts their own fire code and in fact, so does every municipality. In an effort to help our clients answer the question of whether or not the State of Indiana will require them to use fire retardant foliage, we asked this question to the Indiana Fire Marshall.

Do I Need To Use Fire Retardant Foliage?

This is the reply:

Indiana
Section 804.4 IFC 2003 Edition 
Artificial decorative vegetation shall be flame resistant or flame retardant. Such flame resistance or flame retardant shall be documented and certified by the manufacturer in an approved manner.